**ADDENDUM 1**

**800 Kimball Ave**

**Yuba City, CA 95991**

1. Will a bid bond be required?

 *A bid bond will not be required for this project. Payment and Performance bonds also will not be*

 *required.*

2. Are new gutters going to be required with the new roof?

 *Yes, new prefinished 5 inch fascia gutter with matching downspouts will be required.*

3. Does the door from the house to the garage need a dead bolt as well?

 *Yes, the door from the house to the garage should receive the same hardware as the other exterior*

 *door, a passage knob with a single cylinder deadbolt.*